## User Stories
User Stories
As a | < type of user > | , I want | < some goal > | , so that | < some reason >
As a factory quality engineer I want to know the MUA vent door is opening & closing so that I know the Zoneline was assembled correctly
As a service engineer I want to know the MUA vent door is opening & closing so that I can diagnose issues & know I replaced the part correctly
As a design engineer I want to know the vent door is opening & closing so that I can develop the right fault codes & fan check algorithms
As a hotel maintenance provider I want to close the MUA door so that cold air is not pumped into the room during the winter and upsetting the guest
As a hotel owner I want to close the MUA door when the room is unoccupied so that I am not wasting energy to heat or cool the air
Questions | 4- Room Occupant | 2- Maintenance | New ERD | 1- Owner / Manager | 3- Front Desk | Service | Business automation
Create new category for installer? - Aux settings -Thermostat (guided install instructions, guided external thermostat diagnostic in app) | 1- As a hotel guest I want to go into my "Hilton Honors" app and set the room temp upon check in so that the room will be comfortable when I arrive in the room | 1- As a hotel maintenance manager I want to know when the PTAC is not heating or cooling as it's supposed to so that I can either fix or replace the unit | 1- Instant Energy per Energy Mgmt. conversation | 1- As a hotel owner/manager I want connection to be simple and reliable connection so that (I don’t have to waste time reconnecting units) (I can always manage/monitor units) (hotel satisfaction) | 1- As a front desk operator I want to turn off & turn on the PTAC unit by room [or put in deep setback mode] as guests check in & checkout so that rooms aren't being needlessly cooled & heated | 1- As a GE service tech, I want to receive and request pictures/video from a hotel maintenance manager through the app so that I can more effectively diagnose issues from a remote location | 1- Turn on PTAC/CDC as guest checks in or out
| 2- As a hotel guest I want to easily change the AC mode/temp and fan speed in my room so that I will be comfortable | 2- As a hotel maintenance manager I want to know the state of the OD coil blockage so that I know when it is time to clean the coil | 2- Cumulative Energy ERD per Energy Mgmt. conversation | 2- As a maintenance manager I want an easy connection process for the PTACs so that I don’t spend all day trying to get PTACs connected (to what?) | 2- As a front desk clerk I want to be able to remotely change a guest's room temp or AC mode if they are having trouble doing so, so that I don’t have to go to the room | 2- As a GE service technician, I want to be able to pull specific units fault codes so that I can diagnose issues either at the hotel site or remotely | 2- Put PTAC into deep set-back mode as guest checks in or out
| 3- As a hotel guest, I want to easily report heating/cooling issues using an app so that I don’t have to put forth extra effort or talk to anybody | 3- As a hotel maint mgr. I want to know if the Thermostat is wired correctly & how to diagnose/fix so that I know the PTAC will work |  | 3- As a hotel owner/manager I want to be able to schedule when OTA software updates can occur so that the updates don't impact hotel operations | 3- As a front desk clerk, I want to receive push notifications for units that are down or having issues so that I know not to rent the room/notify maintenance | 3- Guided External Thermostat wiring diagnostic in app | 3- Push notifications w/F codes so room is out of service (don’t rent room)
| 4- As a room occupant, I want the app to know my preferences on set points, so I don’t have to input them each time | 4- As a hotel maint. Manager I want to receive push notifications for units that are down or having issues so that I know to check the units for maintenance |  | 4- As an owner I want to be able to put room into deep setback when room is not rented to save energy 1- local control 2- wall thermostat control
| 5- As a room occupant, I want the unit to always maintain room temperature so that I can stay comfortable - MUAM should turn off if it is overheating unit | 5- As a maintenance manager, I want to set Aux settings on the PTAC unit |  | 5- As an owner/manager I want to be able to survey guests comfort experience through the app to 1. proactively address guest issues, and 2. use the survey results for marketing advantages
| 6- As a room occupant, I want unit to go into quiet settings if I complain so that I can sleep in peace (MUAM off, low fan speed, low comp speed) | 6- As a maintenance manager I want to change the Aux settings so that I do not have to work through a confusing aux menu |  | 6- As a hotel owner, I want to be able to set cost per kwh on the web portal so I can monitor energy costs per unit in $$$ amount instead of a confusing metric
| 7- As a room occupant, I want to be able to rate my comfort experience using the app to voice complaints without having to speak to anybody | 7- As a maint manager I want to run forced run diagnostics on the unit so that I can diagnose issues and fix the issue |  | 7- As an owner I want to know how much energy the PTAC is using so that I can understand energy cost and PTAC health
| 8- As a customer, I want to be able to override setback mode during entire length of stay so that I am comfortable | 8- As a housekeeping staff, I want to be able to press/click on option to indicate room is ready (been cleaned) so that front desk can rent/reserve the room |  | 8- As a hotel owner, I want to be able to monitor energy usage/savings over time so that I can make better purchasing decisions in the future
|  | 9- As a maint. Manager I want to see the wall thermostat at signal so that I can diagnose communication issues & make sure it's working right |  | 9- As a hotel owner/manager I want to see analytics on my PTAC units so that I can know which ones are not performing optimally
|  | 10- As a maintenance manager I want to know when the filter is dirty so that I know when it is time to change it rather than changing it on a schedule |  | 10- As a hotel owner, I want the booking system to book most efficient rooms first to minimize energy costs
11- As a maintenance I want to be able to group PTAC units so that I can change all aux settings at once
12- As a maintenance manager I want to receive a reminder when it is time to change the filter so that I know the filter is clean
13- As a maintenance manager I want to be able to change the PTAC unit mode/temp if the guest calls the front desk so that I don’t have to make a trip
14- As a maintenance manager, I want to have the unit fault diagnostics auto order correct parts for service so that all on site service calls solve the issue on the first visit